Version 2.0 /2026

INVITATION TO TENDER

Yemen

28 June 2026

PR716766

SUPPLY OF SANITATION PUMPS

(EXTENDED SUBMISSION DEADLINE)

SUBMISSION DEADLINE: 02:00 P.M. ON 18/July/2026

SUBMISSION DEADLINE EXTENSION: 03:00 P.M. ON 02/August/2026

QUESTIONS / CLARIFICATIONS: Aden.Tenders@savethechildren.org

FORMAT FOR SUBMISSION: BIDDER RESPONSE DOCUMENT

PART 1: INVITATION TO TENDER

  - Introduction to SCI

  - Project Overview and Requirements

  - Award Criteria

  - Instructions & Key Information

PART 2: CORE REQUIREMENTS AND SPECIFICATION

Detailed description of SCI’s specific requirements (e.g. volumes, delivery dates / locations, product specifications etc).

PART 3: BIDDER RESPONSE DOCUMENT

Template to be used to submit response to this Invitation to Tender.

# PART 1 – INVITATION TO TENDER

## INTRODUCTION TO SAVE THE CHILDREN

SCI is the world’s leading independent organisation for children. We save children’s lives; we fight for their rights; we help them fulfil their potential. We work together, with our partners, to inspire breakthroughs in the way the world treats children and to achieve immediate and lasting change in their lives.

Our Vision – a world in which every child attains the right to survival, protection, development and participation.

Our Mission – to inspire breakthroughs in the way the world treats children and to achieve immediate and lasting change in their lives.

We do this through a range of initiatives and programmes, to:

- Provide lifesaving supplies & emotional support for children caught up in disasters (e.g. floods, famine & wars).

- Campaign for long term change to improve children’s lives.

- Improve children’s access to the food and healthcare they need to survive.

- Secure a good quality education for the children who need it most.

- Protect the world’s most vulnerable children, including those separated from their families because of war, natural disasters, extreme poverty or exploitation.

- Work with families to help them out of the poverty cycle so they can feed and support their children.

For more information on the work we undertake and recent achievements, visit our website.

## PROJECT OVERVIEW

| Item | Description |
| --- | --- |
| Description of Goods / Services | Sanitation Pumps |
| Outcome of Tender | The successful supplier(s) will be awarded a Supply Framework Agreement. Purchases under the Framework Agreement will be made through Call-Off Purchase Orders issued as and when required. Each Call-Off Purchase Order will specify the applicable requirements, including quantities, technical specifications, delivery timelines, pricing, and any other call-off-specific conditions. The terms and conditions of the Framework Agreement, including applicable warranties, liabilities, indemnities, and obligations of the parties, shall apply to all Call-Off Purchase Orders issued under the Framework Agreement. |
| Duration of Award | Supply Framework Agreement |

Further detail on the specific requirements of the project (e.g. volumes, dates, specifications etc.) can be found in Part 2 (Core Requirements & Specifications) of this Tender Pack.

## AWARD CRITERA

SCI is committed to running a fair and transparent tender process and ensuring that all bidders are treated and assessed equally during this tender process. Bidder responses will be evaluated against four weighted categories of criteria: Essential Criteria, Sustainability Criteria, Capability and Innovation Criteria, and Commercial Criteria.

3.1 ESSENTIAL CRITERIA

Criteria which bidders must meet in order to progress to the next round of evaluation. If a bidder does not meet any of the Essential Criteria, they will be excluded from the tender process. These criteria are scored as ‘Pass’ / ‘Fail’.

3.2 SUSTAINABILITY CRITERIA (10%)

Criteria used to evaluate a supplier’s approach to labour practices, human rights, environment, ethical conduct, safeguarding and community impact.   Bids will be evaluated against the same pre-agreed Criteria of which 2% will relate to Greenhouse Gas (GHG) emissions reporting and reduction.

### 3.3 CAPABILITY CRITERIA (50%)

Criteria used to evaluate the bidder’s ability, skill, and experience in relation to the requirements. All bids that pass the Essential Criteria will be evaluated against the same pre-agreed Capability Criteria. These criteria account for 50% of the evaluation score. To advance to the next round of evaluation, bidders are required to achieve a minimum overall score of 15% in the material quality check. The minimum passing scores for each criterion are specified. Bidders who fail to meet the minimum technically accepted grade will be disqualified from the process.

### 3.4 COMMERIAL CRITERIA (40%)

Criteria used to evaluate the commercial competitiveness of a bid. Bids will be evaluated against the same pre-agreed Criteria.

## VETTING

Successful bidders must be successfully vetted. This involves checking bidders and key personnel against Global Watch Lists and Enhanced Due Diligence Lists.

The vetting of bidders will be completed after the award decision and prior to any contract being signed, or orders placed. If any information provided by the Bidder throughout the tender process is proved to be incorrect during the vetting process (or at any other point), SCI may withdraw their award decision.

## BIDDER INSTRUCTIONS

### 5.1 TIMESCALES

| Activity | Date |
| --- | --- |
| Issue Invitation to Tender | 28-June-2026 |
| Deadline for questions from Bidders (EXTENDED) | 29-July-2026 |
| Deadline for Bid Submission | 02:00 P.M. 18-July-2026 |
| Deadline for Bid Submission (EXTENDED) | 03:00 P.M. 02-August-2026 |
| Bid Clarifications | 06-August-2026 |
| Award Contact | 13-August-2026 |

The above dates are for indicative purposes only and are subject to change.

### 5.2 SUBMISSION FORMAT & BIDDER RESPONSE DOCUMENT

Bidders wishing to submit a bid must use the Bidder Response Document in Part 3 of this Invitation to Tender Pack. Any bids received using different formats, or incomplete bids, will not be accepted. This document allows bidders to submit all the required information and be evaluated fairly and equally against the Essential, Capability and Innovation, Sustainability and Commercial Criteria. Bidders may also be required to submit supporting documentation. Further instructions can be found within the document in Part 3 of this pack.

Bids can be submitted by either:

Electronic Submission via Ariba Network (preferred method of submission)

- Submit your response in accordance with the guidance provided in the below document:

- If you plan to submit a bid via Ariba Network but haven’t received an email from Ariba with your RFP invitation, notify the tender contact (see Sec 5.4) at least three days before the closing date to ensure registration and receipt of the invitation.

- For any issues preventing submission through Ariba, reach out to the same contact for assistance.

- In case you prefer to submit your bid electronically via Ariba, please send an email to Aden.Tenders@savethechildren.org with email subject line “ITT – PR716766 Supply of Sanitation Pumps”, attaching the company’s valid trade licence/business registration certificate.

Electronic Submission via Email

- Email should be addressed to Procurement Committee at Aden.PrcCommitte@savethechildren.org

- Note – this is a locked tender email which will not be opened until the tender has closed. Therefore, do not send tender related questions to this email address as they will not be answered.

- The subject of the email should be “ITT – PR716766 Supply of Sanitation Pumps/Bidder Response – ‘Bidder Name’, ‘Date’’.

- All attached documents should be clearly labelled so it is clear to understand what each file relates to.

- Emails should not exceed 15mb – if the file sizes are large, please split the submission into two emails.

- Do not copy other SCI email addresses into the email when you submit it as this will invalidate your bid.

### 5.3 CLOSING DATE FOR BID SUBMISSION (Extended)

Your bid must be received, no later than 03:00 P.M. GMT +3 (Local Time) 02 August 2026.

Bids must remain valid and open for consideration for a period of no less than 60 days.

### 5.4 KEY CONTACTS

All questions relating to the tender should be sent via email to:

| Name | Email Address |
| --- | --- |
| Aden Procurement Team | Aden.Tenders@savethechildren.org |

Please be advised local working hours are 08:00 A.M. – 04:00 P.M. Sunday through Wednesday and 08:00 A.M. – 02:00 P.M. on Thursday. Please allow up to two days for a response.

Where the enquiry may have an impact on other bidders within the process, Save the Children will notify all other Bidders to maintain a fair and transparent process.

# PART 2 – CORE REQUIREMENTS & SPECIFICATIONS

| # | Item | Specification |
| --- | --- | --- |
|  | Supply of Submersible Pump for sanitation station with Flow12 l/s and head 10m | Submersible Pump for sanitation station with auto coupling kit as the following: PUMP SPECIFICATIONS and other requirements: Pump Flow = 12 (l/s) (duty point) Pump Head = 10 (m) (duty point) Pump connections: discharge DN 80 mm. Wet (immersed) IP 68 Temp:40C Flanged: DIN Motor housing: EN-GJL 250 or better Impeller: EN-GJL 250 or better Mechanical seal SiC/SiC Motor shaft: Stainless steel 1.4021 Three –phase squirrel-cage motor 400V+- 10% 50Hz, Insulation class H (or F at least) Cable length 20 m No. Starts per hour 12 at least Temp PTC monitoring by thermal sensors in each phase of the stator Auto coupling kit |
|  | Submersible Pump for sanitation station with Pump Flow 45 l/s and head 9m | Submersible Pump for sanitation station with auto coupling kit as the following: PUMP SPECIFICATIONS and other requirements: Pump Flow = 45 (l/s) (duty point) Pump Head = 9 (m) (duty point) Pump connections: discharge DN 100 mm. Wet (immersed) IP 68 Temp:40C Flanged: DIN Motor housing: EN-GJL 250 or better Impeller: EN-GJL 250 or better Mechanical seal SiC/SiC Motor shaft: Stainless steel 1.4021 Three –phase squirrel-cage motor 400V+- 10% 50Hz, Insulation class H (or F at least) Cable length 20 m No. Starts per hour 12 at least Temp PTC monitoring by thermal sensors in each phase of the stator Auto coupling kit |
|  | Submersible Pump for sanitation station with Pump Flow 60 l/s and head 15m | Submersible Pump for sanitation station with auto coupling kit as the following: PUMP SPECIFICATIONS and other requirements: Pump Flow = 60 (l/s) (duty point) Pump Head = 15 (m) (duty point) Pump connections: discharge DN 100 mm. Wet (immersed) IP 68 Temp:40C Flanged: DIN Motor housing: EN-GJL 250 or better Impeller: EN-GJL 250 or better Mechanical seal SiC/SiC Motor shaft: Stainless steel 1.4021 Three –phase squirrel-cage motor 400V+- 10% 50Hz, Insulation class H (or F at least) Cable length 20 m No. Starts per hour 12 at least Temp PTC monitoring by thermal sensors in each phase of the stator Auto coupling kit |
|  | Submersible Pump for sanitation station with Pump Flow 120 l/s and head 18m | Submersible Pump for sanitation station with auto coupling kit as the following: PUMP SPECIFICATIONS and other requirements: Pump Flow = 120 (l/s) (duty point) Pump Head = 18 (m) (duty point) Pump connections: discharge DN 200 mm. Wet (immersed) IP 68 Temp:40C Flanged: DIN Motor housing: EN-GJL 250 or better Impeller: EN-GJL 250 or better Mechanical seal SiC/SiC Motor shaft: Stainless steel 1.4021 Three –phase squirrel-cage motor 400V+- 10% 50Hz, Insulation class H (or F at least) Cable length 20 m No. Starts per hour 12 at least Temp PTC monitoring by thermal sensors in each phase of the stator Auto coupling kit |
|  | Submersible Pump for sanitation station with Pump Flow 50 l/s and head 14m | Submersible Pump for sanitation station with auto coupling kit as the following: Pump specifications and other requirements: Pump Flow = 50 (l/s) (duty point) Pump Head = 14 (m) (duty point) Pump connections: discharge DN 100 mm. Wet (immersed) IP 68 Temp:40C Flanged: DIN Motor housing: EN-GJL 250 or better Impeller: EN-GJL 250 or better Mechanical seal SiC/SiC Motor shaft: Stainless steel 1.4021 Three –phase squirrel-cage motor 400V+- 10% 50Hz, Insulation class H (or F at least) Cable length 20 m No. Starts per hour 12 at least Temp PTC monitoring by thermal sensors in each phase of the stator Auto coupling kit |
|  | Submersible Pump for sanitation station with Pump Flow 50 l/s and head 25m | Submersible Pump for sanitation station with auto coupling kit as the following: Pump specifications and other requirements: Pump Flow = 50 (l/s) (duty point) Pump Head = 25 (m) (duty point) Pump connections: discharge DN 150 mm. Wet (immersed) IP 68 Temp:40C Flanged: DIN Motor housing: EN-GJL 250 or better Impeller: EN-GJL 250 or better Mechanical seal SiC/SiC Motor shaft: Stainless steel 1.4021 Three –phase squirrel-cage motor 400V+- 10% 50Hz, Insulation class H (or F at least) Cable length 20 m No. Starts per hour 12 at least Temp PTC monitoring by thermal sensors in each phase of the stator Auto coupling kits |

# PART 3 – BIDDER RESPONSE DOCUMENT

- INTRODUCTION

This document MUST BE USED by Bidders wishing to submit a bid. Bidders must complete all of the  5 sections linked below:

- Section 1 – Essential Criteria

- Section 2 – Capability & Innovation Questions

- Section 3 – Sustainability Questions

- Section 4 – Commercial Questions

- Section 5 – Bidder Submission Checklist

The Bidder is required to sign a copy of the Check list in Section 5 as part of their submission.

- INSTRUCTIONS

Within each section there are instructions providing guidance to the bidder on what information is required. This guidance details the MINIMUM requirements expected by SCI.

For your bid response please complete all the sections in this Part 3 below.

Where you believe there is an alternative specification or solution to the requirements in Part 2 above you may submit an additional bid response. For avoidance of doubt this will require you to submit two (2) separate bid response documents. Both bids shall be evaluated following the same process as outlined in Part 1 above.

If a Bidder wishes to add further information, this is acceptable but the additional information should be limited to only items that are relevant to the tender.

- For the avoidance of doubt, bidders are required to complete all items within the Bidder Response Document unless clear instruction is provided otherwise.

- If a Bidder does not complete the entire Bidder Response document, their submission may be declared void.

- If a Bidder is unable to complete any element of the Bidder Response Document, they should contact Save the Children using the contact details provided for guidance.

By submitting a response, the bidder confirms that all information provided can be relied upon for validity and accuracy.

## SECTION 1 - ESSENTIAL CRITERIA

INSTRUCTIONS – Bidders are required to complete all sections of the below table.

| Item | Question | Bidder Response |  |
| --- | --- | --- | --- |
| 1 | Bidder accepts Save the Children’s ‘Terms and Conditions of Purchase’ and that any business awarded to the bidder will be completed under the Terms and Conditions included in Section 5 of this pack. | Yes / No | Comments / Attachments |
| 2 | The Bidder and its staff (and any sub-contractors used) agree to comply with SCI’s Supplier Sustainability Policy [set out under Section 5 of this document] and the included Mandatory Policies. | Yes / No | Comments |
| 3 | The bidder confirms it is not linked directly or indirectly to any terrorism related activity and does not sell any Dual-Purpose goods / services that may be used in a terror related activity | Yes / No | Comments |
| 4 | The bidder will provide details for and be vetted against global sanctions lists. The bidder confirms they are not a prohibited party under applicable sanctions laws or anti-terrorism laws or provide goods under sanction by the United States of America or the European Union. | Yes / No | Comments |
| 5 | The Bidder confirms it is fully qualified, licensed and registered to trade with Save the Children (including compliance with all relevant local Country legislation). This includes the Bidder submitting the following requirements (where applicable): - Legitimate business address - Tax ID Card (issued from IRG authorities) - Trading license/Business registration certificate (issued from IRG authorities) | Yes / No | Comments |
|  |  | Requirement (add/delete as required) | Bidder Response / Attachments |
|  |  | Legitimate Business Address |  |
|  |  | Tax ID Card (issued from IRG authorities) |  |
|  |  | Business registration certificate (issued from IRG authorities) |  |

## SECTION 2 – CAPABILITY & INNOVATION QUESTIONS

INSTRUCTIONS – Bidders are required to complete all sections of the below table.

| Item | Question | Bidder Response |  |
| --- | --- | --- | --- |
| 1 | Material Quality 25% Bidders will be evaluated as per the annexed evaluation form with a maximum score of 25% Bidders will be scored between 0%-25% based on the quality, Country of Origin, and submitted certificates of conformity for the requested items. (Minimum passing score is 15%) Required evidence Datasheets Product catalogues COC COO | Bidder Response | Attachment(s) |
| 2 | Capability (Previous Experience) 10% 2% for each relevant PO/Contract for similar materials, with a maximum score of %10. Required evidence Copies of POs/Contracts | Bidder Response | Attachment(s) |
| 3 | Product Warranties 5% Submitted warrantees for at least two from local authorized dealers/distributors Required evidence Formal warranty letters from local authorized dealers | Bidder Response | Attachment(s) |
| 4 | Lead Time 10% Offers will be evaluated according to the proposed delivery lead time for each item. The shortest compliant and achievable delivery period will receive the highest score, while longer delivery periods will be scored proportionally. Required evidence Delivery Lead Time Schedule for Each Item | Bidder Response | Attachment(s) |

## SECTION 3 – SUSTAINABILITY QUESTIONS

- Sustainability is an increasingly important topic within the Humanitarian Sector, and it is critical that bidders understand its importance. SCI expects bidders to act in a Sustainable way and make continuous progress.

- The SCI Supplier Sustainability Policy sets the expectation with bidders on what is important to us and our donors. All bidders must comply to it.

- Answering the Sustainability Questions in this section is part of the bidders’ Sustainability commitment.

- To help you succeed, we provide Guidance Notes and on demand e-learnings on Environment, Ethical Conduct and Safeguarding, designed specifically for bidders who operate in the Humanitarian sector, so you understand what is expected and how to improve.

INSTRUCTIONS – Select up to 5 Sustainability Sub-Standards from the provided list in the second column of the table below and rank in order of priority in the third column. For each selected Sub-Standard, detail both the ‘Current Actions’ and ‘Future Actions Planned’ in the table.  We expect evidence to be attached where applicable.

We will then score/evaluate your current Sustainability credentials and ambition for future improvements. As part of our due diligence processes we may request clarification or supporting information and, if awarded, review progress of planned actions.

| SUSTAINABILITY STANDARDS | SUSTAINABILITY SUB-STANDARDS | TOP IMPACT SUB-STANDARDS | CURRENT ACTIONS | FUTURE ACTIONS PLANNED | TARGET DUE DATE FOR FUTURE ACTIONS |
| --- | --- | --- | --- | --- | --- |
|  |  | Select maximum 5 sustainability sub-standards from the list in column 2 that have most impact on your organisation (e.g. areas of most risk for your organisation) and rank them in order of importance (1=highest priority, and so on) | Only complete for sub-standards identified as a priority in column 3. Detail existing activities which you have or are currently implementing in this area. Please attach evidence where applicable | Only complete for sub-standards identified as a priority in column 3. Detail new activities you plan to implement in the future (see Sustainability Standards Guidance Notes for suggested actions). Please attach evidence where applicable |  |
| Human Rights & Labour | Discrimination, Harassment, Intimidation & Bullying | Example: 1 | Example: Our company enforces a strict Code of Conduct that addresses all forms of discrimination, harassment, intimidation and bullying. Every new joiner is required to read and sign this Code as it forms an integral of the employment contract. | Example: The Human Resources department is planning to conduct an awareness training session next year covering this topic. All employees will be required to join. This initiative aims to reinforce our commitment to a respectful and inclusive work environment. | Example: October 2026 |
|  | Discrimination, Harassment, Intimidation & Bullying |  |  |  |  |
|  | Child Labour & Minimum Working Age |  |  |  |  |
|  | Modern Slavery, Human Trafficking & Forced Labour |  |  |  |  |
|  | Fair Wages & Working Hours |  |  |  |  |
|  | Health & Safety |  |  |  |  |
| Environment | Emissions Production |  |  |  |  |
|  | Waste Generation |  |  |  |  |
|  | Resource Consumption |  |  |  |  |
| Ethical Conduct | Corruption |  |  |  |  |
|  | Conflicts of Interest |  |  |  |  |
|  | Gifts & Hospitality |  |  |  |  |
| Safeguarding | Child Safeguarding |  |  |  |  |
|  | Adult Safeguarding |  |  |  |  |
| Community Impact | Community Strengthening / Cultural Heritage / Indigenous People |  |  |  |  |
| Other | General |  |  |  |  |

INSTRUCTIONS – Bidders are required to complete all sections of the below table.

- SCI is committed to cutting CO₂e emissions by over 50% by 2030. Most of these emissions come from purchased goods and services, therefore reducing our Supply Chain footprint is our top priority.

- GHG (greenhouse gas) emissions performance reporting will be part of the bid evaluation.

- Bidders will not be disqualified if they do not track yet but must commit to start tracking and implementing reduction measures over time.

| Item | Question | Bidder Response |
| --- | --- | --- |
| 1 | Please indicate whether your organisation measures or reports on greenhouse gas (GHG) emissions? Note: GHGs are levels of carbon dioxide, carbon monoxide, sulphur dioxide and other gaseous byproducts of the industrial processes a company emits in its business operations. - please share your decarbonisation plan if you are reporting or tracking GHG emissions - If you are not reporting or tracking GHG emissions, please indicate whether you plan to in future and the approximate timeline to report if it is planned | Bidder Response / Attachments |

## SECTION 4 – COMMERCIAL QUESTIONS

| # | Item | Specification | QTY | Unit Price | Extended Price | Lead Time |
| --- | --- | --- | --- | --- | --- | --- |
|  | Supply of Submersible Pump for sanitation station with Flow12 l/s and head 10m | Submersible Pump for sanitation station with auto coupling kit as the following: PUMP SPECIFICATIONS and other requirements: Pump Flow = 12 (l/s) (duty point) Pump Head = 10 (m) (duty point) Pump connections: discharge DN 80 mm. Wet (immersed) IP 68 Temp:40C Flanged: DIN Motor housing: EN-GJL 250 or better Impeller: EN-GJL 250 or better Mechanical seal SiC/SiC Motor shaft: Stainless steel 1.4021 Three –phase squirrel-cage motor 400V+- 10% 50Hz, Insulation class H (or F at least) Cable length 20 m No. Starts per hour 12 at least Temp PTC monitoring by thermal sensors in each phase of the stator Auto coupling kit | 1 |  |  |  |
|  | Submersible Pump for sanitation station with Pump Flow 45 l/s and head 9m | Submersible Pump for sanitation station with auto coupling kit as the following: PUMP SPECIFICATIONS and other requirements: Pump Flow = 45 (l/s) (duty point) Pump Head = 9 (m) (duty point) Pump connections: discharge DN 100 mm. Wet (immersed) IP 68 Temp:40C Flanged: DIN Motor housing: EN-GJL 250 or better Impeller: EN-GJL 250 or better Mechanical seal SiC/SiC Motor shaft: Stainless steel 1.4021 Three –phase squirrel-cage motor 400V+- 10% 50Hz, Insulation class H (or F at least) Cable length 20 m No. Starts per hour 12 at least Temp PTC monitoring by thermal sensors in each phase of the stator Auto coupling kit | 1 |  |  |  |
|  | Submersible Pump for sanitation station with Pump Flow 60 l/s and head 15m | Submersible Pump for sanitation station with auto coupling kit as the following: PUMP SPECIFICATIONS and other requirements: Pump Flow = 60 (l/s) (duty point) Pump Head = 15 (m) (duty point) Pump connections: discharge DN 100 mm. Wet (immersed) IP 68 Temp:40C Flanged: DIN Motor housing: EN-GJL 250 or better Impeller: EN-GJL 250 or better Mechanical seal SiC/SiC Motor shaft: Stainless steel 1.4021 Three –phase squirrel-cage motor 400V+- 10% 50Hz, Insulation class H (or F at least) Cable length 20 m No. Starts per hour 12 at least Temp PTC monitoring by thermal sensors in each phase of the stator Auto coupling kit | 2 |  |  |  |
|  | Submersible Pump for sanitation station with Pump Flow 120 l/s and head 18m | Submersible Pump for sanitation station with auto coupling kit as the following: PUMP SPECIFICATIONS and other requirements: Pump Flow = 120 (l/s) (duty point) Pump Head = 18 (m) (duty point) Pump connections: discharge DN 200 mm. Wet (immersed) IP 68 Temp:40C Flanged: DIN Motor housing: EN-GJL 250 or better Impeller: EN-GJL 250 or better Mechanical seal SiC/SiC Motor shaft: Stainless steel 1.4021 Three –phase squirrel-cage motor 400V+- 10% 50Hz, Insulation class H (or F at least) Cable length 20 m No. Starts per hour 12 at least Temp PTC monitoring by thermal sensors in each phase of the stator Auto coupling kit | 2 |  |  |  |
|  | Submersible Pump for sanitation station with Pump Flow 50 l/s and head 14m | Submersible Pump for sanitation station with auto coupling kit as the following: Pump specifications and other requirements: Pump Flow = 50 (l/s) (duty point) Pump Head = 14 (m) (duty point) Pump connections: discharge DN 100 mm. Wet (immersed) IP 68 Temp: 40C Flanged: DIN Motor housing: EN-GJL 250 or better Impeller: EN-GJL 250 or better Mechanical seal SiC/SiC Motor shaft: Stainless steel 1.4021 Three –phase squirrel-cage motor 400V+- 10% 50Hz, Insulation class H (or F at least) Cable length 20 m No. Starts per hour 12 at least Temp PTC monitoring by thermal sensors in each phase of the stator Auto coupling kit | 2 |  |  |  |
|  | Submersible Pump for sanitation station with Pump Flow 50 l/s and head 25m | Submersible Pump for sanitation station with auto coupling kit as the following: Pump specifications and other requirements: Pump Flow = 50 (l/s) (duty point) Pump Head = 25 (m) (duty point) Pump connections: discharge DN 150 mm. Wet (immersed) IP 68 Temp:40C Flanged: DIN Motor housing: EN-GJL 250 or better Impeller: EN-GJL 250 or better Mechanical seal SiC/SiC Motor shaft: Stainless steel 1.4021 Three –phase squirrel-cage motor 400V+- 10% 50Hz, Insulation class H (or F at least) Cable length 20 m No. Starts per hour 12 at least Temp PTC monitoring by thermal sensors in each phase of the stator Auto coupling kits | 1 |  |  |  |
| Total |  |  |  |  |  |  |

Save the Children International reserves the right to award the contract on an item-by-item basis, by lot, or in whole, depending on the outcome of the evaluation process and the best value-for-money considerations. SCI may award different items to different bidders where deemed appropriate, taking into account factors including, but not limited to, technical compliance, commercial competitiveness, delivery requirements, supplier capacity, and overall value for money.

SCI further reserves the right to accept or reject any or all bids, cancel or amend the procurement process, negotiate with one or more bidders where permitted under applicable procurement procedures, and make no award without incurring any liability to the bidders.

## SECTION 5 – BIDDER SUBMISSION CHECKLIST

| We, the Bidder, hereby confirm we have completed all sections of the Bidder Response Document: |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| No | Section |  |  | Please Tick |  |  |
| 1. | Section 1 – Essential Criteria |  |  |  |  |  |
| 2. | Section 2 – Capability & Innovation Questions |  |  |  |  |  |
| 3. | Section 3 – Sustainability Questions |  |  |  |  |  |
| 4. | Section 4 – Commercial Questions |  |  |  |  |  |
| We, the Bidder, confirm we have uploaded all of the required information and supporting evidence: |  |  |  |  |  |  |
| Section |  | Required Document / Evidence |  |  |  | Please Tick |
| Essential Criteria Evidence |  | Proof of legitimate business address |  |  |  |  |
|  |  | Copy of tax registration number & card |  |  |  |  |
|  |  | Copy of business registration certificate |  |  |  |  |
| Capability & Innovation Criteria Evidence |  | Completed Bidder Response Document |  |  |  |  |
|  |  | Datasheets, catalogues, etc. |  |  |  |  |
|  |  | Proof of previous experience (POs, Contracts) |  |  |  |  |
|  |  | Warranty Letters |  |  |  |  |
| Sustainability Criteria Evidence |  | Completed Bidder Response Document |  |  |  |  |
|  |  | Decarbonisation Plan (if applicable) |  |  |  |  |
| Commercial Criteria Evidence |  | Completed Bidder Response Document |  |  |  |  |
| We, the Bidder, hereby confirm we compliance with the following policies and requirements: |  |  |  |  |  |  |
| Policy |  |  | Policy / Document |  | Signature |  |
| Terms & Conditions of Bidding |  |  |  |  |  |  |
| Supplier Sustainability Policy and the included mandatory policies |  |  | Click Here to Access |  |  |  |

| We confirm that Save the Children may in its consideration of our offer, and subsequently, rely on the statements made herein. |  |
| --- | --- |
| Signature: | …………………………………………………………………………………………………….. |
| Name: | …………………………………………………………………………………………………….. |
| Title: | …………………………………………………………………………………………………….. |
| Company: | …………………………………………………………………………………………………….. |
| Email: | …………………………………………………………………………………………………….. |
| Date: | …………………………………………………………………………………………………….. |